## Matrix Checklist
Matrix Checklist |  | Process | Performance | Safety | Cost | Documentation
Product in Use | Operation | Operation Process | Operation Performance | Operation Safety | Operation Cost | Operation Documentation
| Maintenance | Maintenance Process | Maintenance Performance | Maintenance Safety | Maintenance Cost | Maintenance Documentation
| Disposal | Disposal Process | Disposal Performance | Disposal Safety | Disposal Cost | Disposal Documentation
Product Design/Manufacture/Supply | Design | Design Process | Design Performance | Design Safety | Design Cost | Design Documentation
| Manufacture | Manufacture Process | Manufacture Performance | Manufacture Safety | Manufacture Cost | Manufacture Documentation
| Distribution | Distribution Process | Distribution Performance | Distribution Safety | Distribution Cost | Distribution Documentation
| Installation | Installation Process | Installation Performance | Installation Safety | Installation Cost | Installation Documentation

## Operational Process
Operational Process
Identify what functions occur in each Type and Mode of Use:
Types of Use
intended use
special use
non-use (storage)
Modes of Use
automatic
manual
on/off
standby
start-up/shut down
normal operating
saving
failure
recovery from failure
signals/warnings/fault alarms
operation in event of power loss
maintenance
Identify infrastructure requirements:
energy (electricity, gas, hydraulic power, compressed air)
water and sewerage
cooling
communications (data, telecoms)
Matrix Checklist

## Operational performance
Operational Performance
Physical characteristics: |  |  | External Interfaces:
| geometry |  |  | signals (sensors, control equipment, displays)
|  | shape |  | type (electronic, pneumatic, hydraulic)
|  | size (height, breadth, length, volume, diameter) |  | transmission standards (analogue, digital, serial, parallel)
|  | space requirement |  | audible signals
|  | maximum dimensions |  |  | volume
| weight |  |  |  | option to mute
operating temperature range
| operating pressure range |  | Adaptability:
forces (magnitude, direction, frequency, resonance effects)
| aesthetics |  |  | compatibility with existing equipment/previous products
|  | appearance |  | design features for future expansion
|  | finish |  | capacity for future expansion
|  | colour |  | likelihood of future enhancements
|  | texture |  | ease of modification
materials
|  | prescribed materials | Availability:
corrosion resistance
|  | physical and chemical properties |  | acceptable downtime
|  | coating requirements |  | mean availability
|  | chemical comparability (cleaning agents) |  | MTBF (operating time)
bio-comparability
|  | sterilisation needed | Reliability:
Performance parameters: |  |  |  | level of reliability required
MTTF (operations or hours of operation before failure)
| speed of operation |  |  | Mean elapsed tune between failures
| cycle time/run time |  |  | possible failure mechanisms
| capacity |  |  |  | inherent weakness
| load handling |  |  |  | misuse
| accuracy |  |  |  | wear
| repeatability |  |  |  | corrosion
| response time |  |  |  | stress corrosion
| quietness |  |  |  | ageing
expected lifetime
|  | working life - number of operations or hours of operation | Working environment:
shelf life
|  | total life span |  | geographic locations
| for manufacturing: production rate |  |  | ambient temperature range
| for manufacturing: scrap rate |  |  | humidity range
external pressure
User Interface: |  |  |  | vibration and shock
ventilation
| man-machine relationship |  |  | permitted noise level
| operator skill/training requirements |  |  | dust and dirt (IP rating)
| clarity of interface |  |  | gases and vapours
|  | operator input |  | corrosion from fluids
|  | product output |  | EMC
visual displays in all lighting conditions
|  | visual instructions |  | for machinery:
|  | guidance/prompting for user |  | clean room requirements
|  | feedback for user |  | environmental monitoring during use
|  | display language |  | microbiological controls during use
| ergonomics |  |  | effluent measurement and disposal
height and reach
lighting
posture f operator
operator fatigue
access levels to controls
maintenance
system development (programming)
Guidance:
AАМІ HE48 Human factors engineering guidelines and preferred practices for the design of medical devices
Matrix Checklist

## Operational Safety
Operational Safety
Check that product conforms with relevant safety regulations - see Appendix 3 for details:
Medical Device Directives
Machinery Directive for moving parts
Electrical Device Safety Standards and Requirements
Machinery Safety Regulations
Product safety:
safety hazards in use
safety factors
preventive measures to safeguard against hazards
warning labels
fault alarms/warnings
fault hierarchy
Environmental impact - lifetime considerations:
energy consumption
consumables used
effluent disposal
cleaning/sterilisation
Matrix Checklist

## Operational Costs
Operating Costs
initial costs
product (target consumer price, selling discounts)
delivery/distribution
installation
acceptance tests
operator and support personnel training
running costs
operating and support personnel wages
energy
communications infrastructure
other services
depreciation
on-going operator and support personnel training
Matrix Checklist

## Operational Documents
Operating Documents
user manuals
operating instructions
safety instructions
drawings
specifications
risk analysis for hazards in use
Matrix Checklist

## Maintenance Process
Maintenance Process
customer (distributor) support
help desk
support staff (distributor staff) training
maintenance policy
diagnostic methods
schedule
MTTR
resources (spares, trained people)
maintenance operations
procedures
calibration
exchange of parts
repair
cleaning/sterilisation
painting
service interval
response/repair time
user maintenance
training requirements
Matrix Checklist

## Maintenance Performance
Maintenance Performance
Product maintainability
accessibility
modularity
status indications
test and diagnostic facilities (need for special test equipment?)
fault isolation facilities
documentation
expected service life
Performance parameters
warranty/support period
inspection interval
calibration interval
Matrix Checklist

## Maintenance Safety
Maintenance Performance
safety during maintenance operations
product users
maintenance staff
associated plant and equipment
Matrix Checklist

## Maintenance Cost
Maintenance Cost
cost if relevant of planned and unplanned downtime
maintenance staff
wages
training
travel and subsistence
maintenance materials
replacement parts
consumables
Matrix Checklist

## Maintenance Documentation
Support and Maintenance Documentation
manuals
installation
calibration
maintenance
training
records/logs
risk analysis for service hazards
Matrix Checklist

## Disposal Process
Disposal Process
disposal policy
dismantling requirements
schedule (lifetime issues)
country of disposal
availability of recycling facilities
components to be returned to manufacturer
Matrix Checklist

## Disposal Performance
Disposal Performance
amount of product recyclable
product re-usability
Matrix Checklist

## Disposal Safety
Disposal Safety
safety of dismantling and disposal machinery
safety aspects of dismantling procedures
safety of disposal method
environmental impact
Matrix Checklist

## Disposal Costs
Disposal Costs
dismantling
waste materials (transportation and disposal)
re-cycling (may reduce overall costs)
Matrix Checklist

## Disposal Documentation
Disposal Documentation
disposal records
Matrix Checklist

## Design Process
Design Process
Design Planning: |  |  | Design Schedule:
| target marketing date |  |  | identify main steps and milestones
| design methods to use |  |  | set achievable schedules
|  | 'V' model |  | agree availability dates for deliverables (components, products, documentation)
prototyping
|  | simulation | Economic Considerations:
design tools
|  | CASE (computer-aided systems engineering) tools to use and relevant constraints |  | cost of delay in product launch
|  | programming language to use and relevant constraints |  |  | lost sales opportunity
| test requirements |  |  |  | additional design costs
|  | trials (chemical, pre market) |  |  | cost of other resources not being utilised
|  | product qualification testing |  | protection afforded by patenting designs
| definition of project responsibilities |  |  | costs related to infringement of IPR
| criteria for make/buy decisions |  |  | identify those economic hazards that require risk management
design review, verification and validation activities
Risk Management:
identify potential causes of delay
misunderstanding of requirements
inadequate design infrastructure
use of new technology
skills limitations
product complexity
use appropriate risk management method (see also Product Safety)
identify risk assessment criteria
define levels of risk acceptability
progress monitoring/reporting and risk re-evaluation
Matrix Checklist

## Design Performance
Design Performance
Design Quality:
requirements validation
design verification
design validation
how?
by whom?
validation criteria?
validation environment?
service environment?
control of design changes and re-validation
Guidance:
CFR Title 21 - Food and Drugs, Part 820 - Quality System Regulation - Design Controls BS EN ISO 9001:2000 Quality management systems - Requirements: Clause 7.3 Design and development
Matrix Checklist

## Design Safety
Design Safety
Design personnel:
exposure to dangerous environments
exposure to dangerous materials
exposure to dangerous processes
protection when testing prototype products and processes
Product Safety:
identify areas of potential safety hazard
use appropriate risk management method
FMEA (Failure Mode Effect Analysis)
FTA (Fault Tree Analysis)
ETA (Event Tree Analysis)
HACCP (Hazard analysis critical control point)
HAZOP (Hazard and operability study - especially for safety)
appropriate design planning and risk management (see Design Process)
Matrix Checklist

## Design Cost
Design Cost
Manpower: |  | Trials (Clinical Investigations):
| internal staff |  | manpower
| subcontract staff |  | materials
| design consultants |  | test equipment
subsistence and travel
Materials: |  |  | results evaluation
| cost of prototyping materials | Industrial engineering:
cost of prototype tooling
process design
Infrastructure: |  |  | tool design
| use of design tools | Product qualification testing:
laboratory use
| simulation costs |  | EMC testing
noise emissions
quality certification
Regulations:
BS EN 30993, Biological evaluation of medical devices Part 1:1992, Guidance on selection of tests Part 3:1992 Tests for genotoxicity, carcinogenicity, and reproductive toxicity BS EN ISO 10993-2 Biological evaluation of medical devices - Animal welfare requirements
Matrix Checklist

## Design Documentation
Design Documentation
specifications
agreed requirements
EHSRs (Essential Health and Safety Requirements)
risk analysis for the design hazards
verification and validation plan
records of design changes
drawings
the technical documents required to demonstrate conformity with the relevant regulatory requirements (FDA requires the design history file to prove the design plan was followed and the device master record, which documents all design and development procedures)
Matrix Checklist

## Manufacturing Process
Manufacturing Process
Preferred methods: |  |  | Packaging:
| available processes and related design constraints |  |  | need for particular processes, for example, vacuum packaging, product sterilisation
| processes available via subcontractors |  |  | labelling requirements
| technology options |  |  |  | label size
| manufacturing philosophy (batch, semi dedicated line, JIT) |  |  |  | label content (product characteristics, warnings)
Means of production: |  |  | Regulations:
| production outputs |  | BS EN 980:1997, Graphical symbols for use in the labelling of medical devices IEC/TR 60878:1988, Graphical symbols for electrical equipment in medical practice CFR Title 21 - Food and Drugs, Part 801 Labelling, Subpart A - General labelling provisions Subpart H - Special requirements for specific devices CFR Title 21 - Food and Drugs, Part 809 In vitro diagnostic products for human use, Subpart B - Labelling
products
parts
documentation
availability of supplies
raw materials
components
availability/limitations of resources
|  | equipment | Manufacturing schedule:
competent staff
lead time required
Product testing: |  |  |  | set-up time
ramp up procedure and time
| definition of properties to be tested (dimensions, performance, colour) |  |  | ramp down procedure and time
| define acceptance criteria |  |  | finish date
type of test
|  | pass/fail | Economic Considerations:
correct or repair
|  | destructive/non-destructive |  | cost of delay in manufacturing start-up
|  | drop test (height, surface, number of times) |  |  | lost sales opportunity
| amount of product to be tested |  |  |  | additional start-up costs
|  | one-off |  |  | cost of resources not being utilised
|  | 100% |  | likelihood of operator error
|  | none (customer can exchange defective product) |  | confidentiality, particularly where novel processes are being employed
|  | sample basis (batch size, percentage, modality) |  | identify those economic hazards that require risk management
destructive/non-destructive
availability of competent test personnel
direct labour regime
Matrix Checklist

## Manufacturing Performance
Manufacturing Performance
Adaptability: |  |  | Manufacturing/packaging environment:
| use of existing product lines |  |  | geographic location
| need for new manufacturing lines |  |  | temperature range
|  | equipment |  | humidity range
|  | space |  | external pressure
|  | tooling |  | vibration (direction, duration, profile, profile characteristics)
|  | potential new capacity for other products |  | shock(direction. peak acceleration, pulse duration, number)
| ability to manufacture future product variants or different products |  |  | noise level
dust and din (IP rating)
Quality: |  |  |  | gases and vapours
ventilation
| qualification of manufacturing processes |  |  | corrosion from fluids
|  | obtainable tolerances |  | magnetic fields
|  | acceptable standard deviations |  | electrostatic controls
|  | production rate |  | class of manufacturing area (100.000, 10.000, etc. US Standard 209c)
|  | scrap rate |  | environmental monitoring
|  | production quantity |  | microbiological controls (allowable count)
adequacy of product testing facilities and test criteria
| disposal of non-conforming product |  | Package issues:
packing configuration
adequacy
protection afforded fragile components
functionality
aesthetics
style/promotional requirements
packed size
packed weight
lifting facilities (handles)
Matrix Checklist

## Manufacturing Safety
Manufacturing Safety
Machinery used must comply with the provisions of the EC Machinery Directive 89/392/EEC
Process Regulations: |  | Handling provisions:
| PD 5304 (British Standards) Safe use of machinery |  | machinery
| UK Health and] Safety - The Supply of Machinery (Safety) Regulations 1992 |  | components
| IEC 60204-1 Safety* of machinery — Electrical equipment of machines - General requirements |  | material/component movements
| IEC 61140 Protection against electric shock - Common aspects for installation and equipment |  | material/component storage
Safety provisions-personnel: |  | Safety-related environmental issues:
| use of warning signs |  | use of dangerous materials
| interlocks |  | collection of process waste (shavings, scrap, dust)
| adequacy and deployment of safety procedures and instructions for workers and cleaners |  | disposal of process waste
| safety training |  | working conditions (toxic substances, heat, cold)
| first aid provisions |  | energy emissions (radiation)
noise
visual impact of production facility (proximity to housing)
Matrix Checklist

## Manufacturing Cost
Manufacturing Cost
In-house manufactured parts:
maximum permissible manufacturing cost
raw material costs
direct labour costs, including assembly
machine utilisation costs
economic batch size
tooling and assembly jig costs (amortisation policy)
energy costs
consumables costs
scrap rates
Bought-in parts:
price/volume sensitivity
stocking policy (storage requirements and costs, Kanbans)
Other factors:
packaging costs
manufacturing licence costs
warranty provisions
Matrix Checklist

## Manufacturing Documentation
Manufacturing Cost
specifications
drawings
standards to be followed
assembly and dissembly instructions
risk analysis - potential manufacturing hazards (BS EN 414, BS EN 1050)
quality plan
process qualification plan
Certificate of Conformity
test results
build status/traceability of components and product
Matrix Checklist

## Distribution Process
Distribution Process
means of transport
means and procedures to load and unload
means and procedures for storage
in plant
wholesaler s warehouse
on display
labelling for transport
distribution schedule
target delivery date
mean storage time
expiry date
economic hazards
distribution delay
storage delay
waste of space during storage
human errors
identify those economic hazards that require risk management
Matrix Checklist

## Distribution Performance
Distribution Performance
transportation
use of existing transport facilities
need for new transport facilities
distribution and storage environment
location
temperature range
humidity range
external pressure
vibration and shock (direction, duration, profile, profile characteristics)
Matrix Checklist

## Distribution Safety
Distribution Safety
safety of transportation equipment
safety of machinery used for storage, loading and unloading
safety procedures for storage, loading and unloading
safety in storage
environmental safety, for example, emissions from transportation equipment
Matrix Checklist

## Distribution Costs
Distribution Costs
transport and shipping costs
distribution and storage environment
warehouse rent and running costs
warehouse labour costs
Matrix Checklist

## Distribution Documentation
Distribution Documentation
shipment records (product codes, batch data, date and time, etc)
delivery instructions
delivery acceptance records
Matrix Checklist

## Installation Process
Installation Process
preparation
buildings
foundations and mountings
mains supplies (electricity, gas. hydraulic power, compressed air. water, sewerage)
telecommunications facilities
data network connections
staff training
product validation in its operating environment
test conditions
validation procedure
fault correction
economic factors
cost of process delays (process unavailability to user, additional resource requirements)
Matrix Checklist

## Installation Performance
Installation Performance
ease of installation
modularity of equipment to be installed
lifting equipment requirements
interconnections (mechanical, electrical and pipping)
set-up calibration
Matrix Checklist

## Installation Safety
Installation Safety
safety protection for installation personnel
safety of lifting gear and other installation equipment
safety of working environment
Matrix Checklist

## Installation Costs
Installation Costs
installation equipment and materials
installation staff time
staff travel and subsistence
staff training
Matrix Checklist

## Installation Documentation
Installation Documentation
installation specifications
drawings
installation instructions
set-up and calibration procedures
verification and validation plan
validation criteria
acceptance records
Matrix Checklist